## Slide 1
Analog Devices Evaluation Board
Instructables
Senior Design 2022
Analog Devices Evaluation Board

## Slide 2
10nF
100k
100k
200k
3.3V
GND
20k
20k
AD8606
1M
IN A826
1K
Combined Circuit
Evaluation Board
Changed
Resistors
Same
Voltage Ref
but with Buffer
By cutting jumpers you can enable
Left or Right circuit
You either have one electrode plug on left side
Or you have two on right side

## Slide 4
Needs to be added for callibration
If you want LK1 and LK2 controlled digitally you can use analog switch: MC74VHC1GT66
In the example diagram on the right (from an other project),
the capacitor 100nF is connected to ground if SENS_FILTER from
Microcontroller is set high/low.